## 3403
Title | Stock Number | Price | Dia. (mm) | CWL (nm) | CWL Tolerance (nm) | FWHM (nm) | FWHM Tolerance (nm) | Transmission (%) | Blocking Wavelength Range (nm) | Compatible Fluorophore | Optical Density OD | CA (mm) | Surface Quality | Coating | Mount Thickness (mm) | Substrate | Substrate Thickness (mm) | Type | Typical Light Sources
400nm CWL, 12.5mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 84-769 | $130 | 12.50 +0.0/-0.1 | 400.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | 7-Dimethylamino-4-Methylcoumarin-3-Isothiocyanate, CellTrace calcein violet, Pacific Blue, Pacific Orange | ≥4.0 | 8.5 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter | 405nm Diode; 395nm LED
400nm CWL, 25mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 84-781 | $205 | 25.00 +0.0/-0.1 | 400.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | 7-Dimethylamino-4-Methylcoumarin-3-Isothiocyanate, CellTrace calcein violet, Pacific Blue, Pacific Orange | ≥4.0 | 21.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter | 405nm Diode; 395nm LED
400nm CWL, 50mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 84-793 | $495 | 50.00 +0.0/-0.1 | 400.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | 7-Dimethylamino-4-Methylcoumarin-3-Isothiocyanate, CellTrace calcein violet, Pacific Blue, Pacific Orange | ≥4.0 | 45.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter | 405nm Diode; 395nm LED
425nm CWL, 12.5mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 86-937 | $130 | 12.50 +0.0/-0.1 | 425.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | Lucifer yellow, Aqua 431, Acridine Homodimer | ≥4.0 | 8.5 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
425nm CWL, 25mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 86-949 | $205 | 25.00 +0.0/-0.1 | 425.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | Lucifer yellow, Aqua 431, Acridine Homodimer | ≥4.0 | 21.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
425nm CWL, 50mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 86-961 | $495 | 50.00 +0.0/-0.1 | 425.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | Lucifer yellow, Aqua 431, Acridine Homodimer | ≥4.0 | 45.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
450nm CWL, 12.5mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 84-770 | $130 | 12.50 +0.0/-0.1 | 450.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | StarLight Glacial Blue | ≥4.0 | 8.5 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter | 445nm Diode; 470nm LED
450nm CWL, 25mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 84-782 | $205 | 25.00 +0.0/-0.1 | 450.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | StarLight Glacial Blue | ≥4.0 | 21.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter | 445nm Diode; 470nm LED
450nm CWL, 50mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 84-794 | $495 | 50.00 +0.0/-0.1 | 450.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | StarLight Glacial Blue | ≥4.0 | 45.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter | 445nm Diode; 470nm LED
475nm CWL, 12.5mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 86-938 | $130 | 12.50 +0.0/-0.1 | 475.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | 4-[4-(Dimethylamino)Styryl]-N-MethylPyridinium, 4-Di-10-ASP, DiO | ≥4.0 | 8.5 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
475nm CWL, 25mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 86-950 | $205 | 25.00 +0.0/-0.1 | 475.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | 4-[4-(Dimethylamino)Styryl]-N-MethylPyridinium, 4-Di-10-ASP, DiO | ≥4.0 | 21.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
475nm CWL, 50mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 86-962 | $495 | 50.00 +0.0/-0.1 | 475.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | 4-[4-(Dimethylamino)Styryl]-N-MethylPyridinium, 4-Di-10-ASP, DiO | ≥4.0 | 45.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
500nm CWL, 12.5mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 84-771 | $130 | 12.50 +0.0/-0.1 | 500.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | BD Horizon V500, DiO, PKH67, Acridine Orange, ATTO 488, ratiometric pHluorin pH5 | ≥4.0 | 8.5 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter | 475 and 488nm Laser; 520nm LED
500nm CWL, 25mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 84-783 | $205 | 25.00 +0.0/-0.1 | 500.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | BD Horizon V500, DiO, PKH67, Acridine Orange, ATTO 488, ratiometric pHluorin pH6 | ≥4.0 | 21.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter | 475 and 488nm Laser; 520nm LED
500nm CWL, 50mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 84-795 | $495 | 50.00 +0.0/-0.1 | 500.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | BD Horizon V500, DiO, PKH67, Acridine Orange, ATTO 488, ratiometric pHluorin pH7 | ≥4.0 | 45.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter | 475 and 488nm Laser; 520nm LED
525nm CWL, 12.5mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 86-939 | $130 | 12.50 +0.0/-0.1 | 525.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | 6-carboxyrhodamine, Envy Green, Eosin, TurboYFP, ATTO 488, Qdot 525 Nanocrystals, Surf Green | ≥4.0 | 8.5 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
525nm CWL, 25mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 86-951 | $205 | 25.00 +0.0/-0.1 | 525.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | 6-carboxyrhodamine, Envy Green, Eosin, TurboYFP, ATTO 488, Qdot 525 Nanocrystals, Surf Green | ≥4.0 | 21.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
525nm CWL, 50mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 86-963 | $495 | 50.00 +0.0/-0.1 | 525.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | 6-carboxyrhodamine, Envy Green, Eosin, TurboYFP, ATTO 488, Qdot 525 Nanocrystals, Surf Green | ≥4.0 | 45.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
550nm CWL, 12.5mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 84-772 | $130 | 12.50 +0.0/-0.1 | 550.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | HiLyte Fluor 555, Magnesium Orange, Acridine Yellow | ≥4.0 | 8.5 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter | 532nm Laser
550nm CWL, 25mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 84-784 | $205 | 25.00 +0.0/-0.1 | 550.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | HiLyte Fluor 555, Magnesium Orange, Acridine Yellow | ≥4.0 | 21.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter | 532nm Laser
550nm CWL, 50mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 84-796 | $495 | 50.00 +0.0/-0.1 | 550.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | HiLyte Fluor 555, Magnesium Orange, Acridine Yellow | ≥4.0 | 45.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter | 532nm Laser
575nm CWL, 12.5mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 86-940 | $130 | 12.50 +0.0/-0.1 | 575.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | Bo-Pro 3, KFP-Red | ≥4.0 | 8.5 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
575nm CWL, 25mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 86-952 | $205 | 25.00 +0.0/-0.1 | 575.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | Bo-Pro 3, KFP-Red | ≥4.0 | 21.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
575nm CWL, 50mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 86-964 | $495 | 50.00 +0.0/-0.1 | 575.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | Bo-Pro 3, KFP-Red | ≥4.0 | 45.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
600nm CWL, 12.5mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 84-773 | $130 | 12.50 +0.0/-0.1 | 600.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | Hexidium Iodide, Suncoast Yellow | ≥4.0 | 8.5 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter | 594nm Laser; 590-620nm LED
600nm CWL, 25mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 84-785 | $205 | 25.00 +0.0/-0.1 | 600.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | Hexidium Iodide, Suncoast Yellow | ≥4.0 | 21.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter | 594nm Laser; 590-620nm LED
600nm CWL, 50mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 84-797 | $495 | 50.00 +0.0/-0.1 | 600.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | Hexidium Iodide, Suncoast Yellow | ≥4.0 | 45.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter | 594nm Laser; 590-620nm LED
625nm CWL, 12.5mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 86-941 | $130 | 12.50 +0.0/-0.1 | 625.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | ATTO 633, SYTO 59, HCS CellMask Red cytoplasmic | ≥4.0 | 8.5 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
625nm CWL, 25mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 86-953 | $205 | 25.00 +0.0/-0.1 | 625.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | ATTO 633, SYTO 59, HCS CellMask Red cytoplasmic | ≥4.0 | 21.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
625nm CWL, 50mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 86-965 | $495 | 50.00 +0.0/-0.1 | 625.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | ATTO 633, SYTO 59, HCS CellMask Red cytoplasmic | ≥4.0 | 45.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
650nm CWL, 12.5mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 84-774 | $130 | 12.50 +0.0/-0.1 | 650.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | Alexa Fluor® 647, SpectrumFRed, SYTO 60, ChlorophyllA | ≥4.0 | 8.5 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter | 635-670nm Laser; 660nm LED
650nm CWL, 25mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 84-786 | $205 | 25.00 +0.0/-0.1 | 650.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | Alexa Fluor® 647, SpectrumFRed, SYTO 60, ChlorophyllA | ≥4.0 | 21.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter | 635-670nm Laser; 660nm LED
650nm CWL, 50mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 84-798 | $495 | 50.00 +0.0/-0.1 | 650.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | Alexa Fluor® 647, SpectrumFRed, SYTO 60, ChlorophyllA | ≥4.0 | 45.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter | 635-670nm Laser; 660nm LED
675nm CWL, 12.5mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 86-942 | $130 | 12.50 +0.0/-0.1 | 675.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | DY-675 Absorption | ≥4.0 | 8.5 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
675nm CWL, 25mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 86-954 | $205 | 25.00 +0.0/-0.1 | 675.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | DY-675 Absorption | ≥4.0 | 21.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
675nm CWL, 50mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 86-966 | $495 | 50.00 +0.0/-0.1 | 675.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | DY-675 Absorption | ≥4.0 | 45.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
700nm CWL, 12.5mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 84-775 | $130 | 12.50 +0.0/-0.1 | 700.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | ATTO 680 Emission | ≥4.0 | 8.5 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter | Broadband Illumination Source
700nm CWL, 25mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 84-787 | $205 | 25.00 +0.0/-0.1 | 700.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | ATTO 680 Emission | ≥4.0 | 21.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter | Broadband Illumination Source
700nm CWL, 50mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 84-799 | $495 | 50.00 +0.0/-0.1 | 700.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | ATTO 680 Emission | ≥4.0 | 45.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter | Broadband Illumination Source
725nm CWL, 12.5mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 86-943 | $130 | 12.50 +0.0/-0.1 | 725.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | FM 4-64, ATTO 725, Alexa Fluor® 700 | ≥4.0 | 8.5 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
725nm CWL, 25mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 86-955 | $205 | 25.00 +0.0/-0.1 | 725.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | FM 4-64, ATTO 725, Alexa Fluor® 700 | ≥4.0 | 21.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
725nm CWL, 50mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 86-967 | $495 | 50.00 +0.0/-0.1 | 725.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | FM 4-64, ATTO 725, Alexa Fluor® 700 | ≥4.0 | 45.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
750nm CWL, 12.5mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 84-776 | $130 | 12.50 +0.0/-0.1 | 750.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | DiR, HiLyte Fluor 750 | ≥4.0 | 8.5 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter | Broadband Illumination Source
750nm CWL, 25mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 84-788 | $205 | 25.00 +0.0/-0.1 | 750.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | DiR, HiLyte Fluor 751 | ≥4.0 | 21.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter | Broadband Illumination Source
750nm CWL, 50mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 84-800 | $495 | 50.00 +0.0/-0.1 | 750.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | DiR, HiLyte Fluor 752 | ≥4.0 | 45.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter | Broadband Illumination Source
775nm CWL, 12.5mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 86-944 | $130 | 12.50 +0.0/-0.1 | 775.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | IRDye800CW, DyLight 800, Cy7, LIVE/DEAD fixable Near-IR Dead Cell Stain | ≥4.0 | 8.5 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
775nm CWL, 25mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 86-956 | $205 | 25.00 +0.0/-0.1 | 775.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | IRDye800CW, DyLight 800, Cy7, LIVE/DEAD fixable Near-IR Dead Cell Stain | ≥4.0 | 21.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
775nm CWL, 50mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 86-968 | $495 | 50.00 +0.0/-0.1 | 775.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | IRDye800CW, DyLight 800, Cy7, LIVE/DEAD fixable Near-IR Dead Cell Stain | ≥4.0 | 45.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
800nm CWL, 12.5mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 84-777 | $130 | 12.50 +0.0/-0.1 | 800.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | ICG, IRDye800RS, Alexa Fluor® 790 | ≥4.0 | 8.5 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter | 780nm Laser
800nm CWL, 25mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 84-789 | $205 | 25.00 +0.0/-0.1 | 800.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | ICG, IRDye800RS, Alexa Fluor® 790 | ≥4.0 | 21.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter | 780nm Laser
800nm CWL, 50mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 84-801 | $495 | 50.00 +0.0/-0.1 | 800.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | ICG, IRDye800RS, Alexa Fluor® 790 | ≥4.0 | 45.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter | 780nm Laser
825nm CWL, 12.5mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 86-945 | $130 | 12.50 +0.0/-0.1 | 825.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | ICG, IRDye800RS, Alexa Fluor® 790 | ≥4.0 | 8.5 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
825nm CWL, 25mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 86-957 | $205 | 25.00 +0.0/-0.1 | 825.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | ICG, IRDye800RS, Alexa Fluor® 790 | ≥4.0 | 21.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
825nm CWL, 50mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 86-969 | $495 | 50.00 +0.0/-0.1 | 825.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | ICG, IRDye800RS, Alexa Fluor® 790 | ≥4.0 | 45.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
850nm CWL, 12.5mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 84-778 | $130 | 12.50 +0.0/-0.1 | 850.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | ICG, IRDye800RS, Alexa Fluor® 790 | ≥4.0 | 8.5 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter | 830nm Laser
850nm CWL, 25mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 84-790 | $205 | 25.00 +0.0/-0.1 | 850.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | ICG, IRDye800RS, Alexa Fluor® 790 | ≥4.0 | 21.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter | 830nm Laser
850nm CWL, 50mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 84-802 | $495 | 50.00 +0.0/-0.1 | 850.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 | ICG, IRDye800RS, Alexa Fluor® 790 | ≥4.0 | 45.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter | 830nm Laser
875nm CWL, 12.5mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 86-946 | $130 | 12.50 +0.0/-0.1 | 875.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 |  | ≥4.0 | 8.5 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
875nm CWL, 25mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 86-958 | $205 | 25.00 +0.0/-0.1 | 875.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 |  | ≥4.0 | 21.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
875nm CWL, 50mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 86-970 | $495 | 50.00 +0.0/-0.1 | 875.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 |  | ≥4.0 | 45.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
900nm CWL, 12.5mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 84-779 | $130 | 12.50 +0.0/-0.1 | 900.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 |  | ≥4.0 | 8.5 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter | 880 and 905nm Laser; 880nm LED
900nm CWL, 25mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 84-791 | $205 | 25.00 +0.0/-0.1 | 900.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 |  | ≥4.0 | 21.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter | 880 and 905nm Laser; 880nm LED
900nm CWL, 50mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 84-803 | $495 | 50.00 +0.0/-0.1 | 900.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 |  | ≥4.0 | 45.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter | 880 and 905nm Laser; 880nm LED
925nm CWL, 12.5mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 86-947 | $130 | 12.50 +0.0/-0.1 | 925.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 |  | ≥4.0 | 8.5 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
925nm CWL, 25mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 86-959 | $205 | 25.00 +0.0/-0.1 | 925.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 |  | ≥4.0 | 21.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
925nm CWL, 50mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 86-971 | $495 | 50.00 +0.0/-0.1 | 925.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 |  | ≥4.0 | 45.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
950nm CWL, 12.5mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 84-780 | $130 | 12.50 +0.0/-0.1 | 950.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 |  | ≥4.0 | 8.5 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter | Broadband Illumination Source
950nm CWL, 25mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 84-792 | $205 | 25.00 +0.0/-0.1 | 950.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 |  | ≥4.0 | 21.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter | Broadband Illumination Source
950nm CWL, 50mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 84-804 | $495 | 50.00 +0.0/-0.1 | 950.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 |  | ≥4.0 | 45.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter | Broadband Illumination Source
975nm CWL, 12.5mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 86-948 | $130 | 12.50 +0.0/-0.1 | 975.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 |  | ≥4.0 | 8.5 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
975nm CWL, 25mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 86-960 | $205 | 25.00 +0.0/-0.1 | 975.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 |  | ≥4.0 | 21.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
975nm CWL, 50mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 86-972 | $495 | 50.00 +0.0/-0.1 | 975.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1200 |  | ≥4.0 | 45.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1000nm CWL, 12.5mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 85-880 | $155 | 12.50 +0.0/-0.1 | 1000.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1500 |  | ≥4.0 | 8.5 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1000nm CWL, 25mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 85-892 | $255 | 25.00 +0.0/-0.1 | 1000.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1500 |  | ≥4.0 | 21.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1000nm CWL, 50mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 85-904 | $595 | 50.00 +0.0/-0.1 | 1000.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1500 |  | ≥4.0 | 45.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1025nm CWL, 12.5mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 87-847 | $155 | 12.50 +0.0/-0.1 | 1025.00 | ±5 | 50.00 | ±5 | >90 | 200 - 1500 |  | ≥4.0 | 8.5 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1025nm CWL, 25mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 87-860 | $255 | 25.00 +0.0/-0.1 | 1025.00 | ±5 | 50.00 | ±5 | >90 | 200 - 1500 |  | ≥4.0 | 21.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1025nm CWL, 50mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 87-873 | $595 | 50.00 +0.0/-0.1 | 1025.00 | ±5 | 50.00 | ±5 | >90 | 200 - 1500 |  | ≥4.0 | 45.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1050nm CWL, 12.5mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 85-881 | $155 | 12.50 +0.0/-0.1 | 1050.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1500 |  | ≥4.0 | 8.5 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1050nm CWL, 25mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 85-893 | $255 | 25.00 +0.0/-0.1 | 1050.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1500 |  | ≥4.0 | 21.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1050nm CWL, 50mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 85-905 | $595 | 50.00 +0.0/-0.1 | 1050.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1500 |  | ≥4.0 | 45.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1075nm CWL, 12.5mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 87-848 | $155 | 12.50 +0.0/-0.1 | 1075.00 | ±5 | 50.00 | ±5 | >90 | 200 - 1500 |  | ≥4.0 | 8.5 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1075nm CWL, 25mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 87-861 | $255 | 25.00 +0.0/-0.1 | 1075.00 | ±5 | 50.00 | ±5 | >90 | 200 - 1500 |  | ≥4.0 | 21.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1075nm CWL, 50mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 87-874 | $595 | 50.00 +0.0/-0.1 | 1075.00 | ±5 | 50.00 | ±5 | >90 | 200 - 1500 |  | ≥4.0 | 45.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1100nm CWL, 12.5mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 85-882 | $155 | 12.50 +0.0/-0.1 | 1100.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1500 |  | ≥4.0 | 8.5 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1100nm CWL, 25mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 85-894 | $255 | 25.00 +0.0/-0.1 | 1100.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1500 |  | ≥4.0 | 21.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1100nm CWL, 50mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 85-906 | $595 | 50.00 +0.0/-0.1 | 1100.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1500 |  | ≥4.0 | 45.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1125nm CWL, 12.5mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 87-849 | $155 | 12.50 +0.0/-0.1 | 1125.00 | ±5 | 50.00 | ±5 | >90 | 200 - 1500 |  | ≥4.0 | 8.5 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1125nm CWL, 25mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 87-862 | $255 | 25.00 +0.0/-0.1 | 1125.00 | ±5 | 50.00 | ±5 | >90 | 200 - 1500 |  | ≥4.0 | 21.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1125nm CWL, 50mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 87-875 | $595 | 50.00 +0.0/-0.1 | 1125.00 | ±5 | 50.00 | ±5 | >90 | 200 - 1500 |  | ≥4.0 | 45.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1150nm CWL, 12.5mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 85-883 | $155 | 12.50 +0.0/-0.1 | 1150.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1500 |  | ≥4.0 | 8.5 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1150nm CWL, 25mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 85-895 | $255 | 25.00 +0.0/-0.1 | 1150.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1500 |  | ≥4.0 | 21.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1150nm CWL, 50mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 85-907 | $595 | 50.00 +0.0/-0.1 | 1150.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1500 |  | ≥4.0 | 45.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1175nm CWL, 12.5mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 87-850 | $155 | 12.50 +0.0/-0.1 | 1175.00 | ±5 | 50.00 | ±5 | >90 | 200 - 1500 |  | ≥4.0 | 8.5 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1175nm CWL, 25mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 87-863 | $255 | 25.00 +0.0/-0.1 | 1175.00 | ±5 | 50.00 | ±5 | >90 | 200 - 1500 |  | ≥4.0 | 21.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1175nm CWL, 50mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 87-876 | $595 | 50.00 +0.0/-0.1 | 1175.00 | ±5 | 50.00 | ±5 | >90 | 200 - 1500 |  | ≥4.0 | 45.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1200nm CWL, 12.5mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 85-884 | $155 | 12.50 +0.0/-0.1 | 1200.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1500 |  | ≥4.0 | 8.5 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1200nm CWL, 25mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 85-896 | $255 | 25.00 +0.0/-0.1 | 1200.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1500 |  | ≥4.0 | 21.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1200nm CWL, 50mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 85-908 | $595 | 50.00 +0.0/-0.1 | 1200.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1500 |  | ≥4.0 | 45.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1225nm CWL, 12.5mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 87-851 | $155 | 12.50 +0.0/-0.1 | 1225.00 | ±5 | 50.00 | ±5 | >90 | 200 - 1800 |  | ≥4.0 | 8.5 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1225nm CWL, 25mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 87-864 | $255 | 25.00 +0.0/-0.1 | 1225.00 | ±5 | 50.00 | ±5 | >90 | 200 - 1800 |  | ≥4.0 | 21.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1225nm CWL, 50mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 87-877 | $595 | 50.00 +0.0/-0.1 | 1225.00 | ±5 | 50.00 | ±5 | >90 | 200 - 1800 |  | ≥4.0 | 45.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1250nm CWL, 12.5mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 85-885 | $155 | 12.50 +0.0/-0.1 | 1250.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1800 |  | ≥4.0 | 8.5 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1250nm CWL, 25mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 85-897 | $255 | 25.00 +0.0/-0.1 | 1250.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1800 |  | ≥4.0 | 21.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1250nm CWL, 50mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 85-909 | $595 | 50.00 +0.0/-0.1 | 1250.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1800 |  | ≥4.0 | 45.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1275nm CWL, 12.5mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 87-852 | $155 | 12.50 +0.0/-0.1 | 1275.00 | ±5 | 50.00 | ±5 | >90 | 200 - 1800 |  | ≥4.0 | 8.5 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1275nm CWL, 25mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 87-865 | $255 | 25.00 +0.0/-0.1 | 1275.00 | ±5 | 50.00 | ±5 | >90 | 200 - 1800 |  | ≥4.0 | 21.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1275nm CWL, 50mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 87-878 | $595 | 50.00 +0.0/-0.1 | 1275.00 | ±5 | 50.00 | ±5 | >90 | 200 - 1800 |  | ≥4.0 | 45.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1300nm CWL, 12.5mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 85-886 | $155 | 12.50 +0.0/-0.1 | 1300.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1800 |  | ≥4.0 | 8.5 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1300nm CWL, 25mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 85-898 | $255 | 25.00 +0.0/-0.1 | 1300.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1800 |  | ≥4.0 | 21.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1300nm CWL, 50mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 85-910 | $595 | 50.00 +0.0/-0.1 | 1300.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1800 |  | ≥4.0 | 45.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1325nm CWL, 12.5mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 87-853 | $155 | 12.50 +0.0/-0.1 | 1325.00 | ±5 | 50.00 | ±5 | >90 | 200 - 1800 |  | ≥4.0 | 8.5 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1325nm CWL, 25mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 87-866 | $255 | 25.00 +0.0/-0.1 | 1325.00 | ±5 | 50.00 | ±5 | >90 | 200 - 1800 |  | ≥4.0 | 21.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1325nm CWL, 50mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 87-879 | $595 | 50.00 +0.0/-0.1 | 1325.00 | ±5 | 50.00 | ±5 | >90 | 200 - 1800 |  | ≥4.0 | 45.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1350nm CWL, 12.5mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 85-887 | $155 | 12.50 +0.0/-0.1 | 1350.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1800 |  | ≥4.0 | 8.5 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1350nm CWL, 25mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 85-899 | $255 | 25.00 +0.0/-0.1 | 1350.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1800 |  | ≥4.0 | 21.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1350nm CWL, 50mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 85-911 | $595 | 50.00 +0.0/-0.1 | 1350.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1800 |  | ≥4.0 | 45.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1375nm CWL, 12.5mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 87-854 | $155 | 12.50 +0.0/-0.1 | 1375.00 | ±5 | 50.00 | ±5 | >90 | 200 - 1800 |  | ≥4.0 | 8.5 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1375nm CWL, 25mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 87-867 | $255 | 25.00 +0.0/-0.1 | 1375.00 | ±5 | 50.00 | ±5 | >90 | 200 - 1800 |  | ≥4.0 | 21.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1375nm CWL, 50mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 87-880 | $595 | 50.00 +0.0/-0.1 | 1375.00 | ±5 | 50.00 | ±5 | >90 | 200 - 1800 |  | ≥4.0 | 45.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1400nm CWL, 12.5mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 85-888 | $155 | 12.50 +0.0/-0.1 | 1400.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1800 |  | ≥4.0 | 8.5 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1400nm CWL, 25mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 85-900 | $255 | 25.00 +0.0/-0.1 | 1400.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1800 |  | ≥4.0 | 21.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1400nm CWL, 50mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 85-912 | $595 | 50.00 +0.0/-0.1 | 1400.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1800 |  | ≥4.0 | 45.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1425nm CWL, 12.5mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 87-855 | $155 | 12.50 +0.0/-0.1 | 1425.00 | ±5 | 50.00 | ±5 | >90 | 200 - 1800 |  | ≥4.0 | 8.5 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1425nm CWL, 25mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 87-868 | $255 | 25.00 +0.0/-0.1 | 1425.00 | ±5 | 50.00 | ±5 | >90 | 200 - 1800 |  | ≥4.0 | 21.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1425nm CWL, 50mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 87-881 | $595 | 50.00 +0.0/-0.1 | 1425.00 | ±5 | 50.00 | ±5 | >90 | 200 - 1800 |  | ≥4.0 | 45.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1450nm CWL, 12.5mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 85-889 | $155 | 12.50 +0.0/-0.1 | 1450.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1800 |  | ≥4.0 | 8.5 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1450nm CWL, 25mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 85-901 | $255 | 25.00 +0.0/-0.1 | 1450.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1800 |  | ≥4.0 | 21.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1450nm CWL, 50mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 85-913 | $595 | 50.00 +0.0/-0.1 | 1450.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1800 |  | ≥4.0 | 45.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1475nm CWL, 12.5mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 87-856 | $155 | 12.50 +0.0/-0.1 | 1475.00 | ±5 | 50.00 | ±5 | >90 | 200 - 1800 |  | ≥4.0 | 8.5 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1475nm CWL, 25mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 87-869 | $255 | 25.00 +0.0/-0.1 | 1475.00 | ±5 | 50.00 | ±5 | >90 | 200 - 1800 |  | ≥4.0 | 21.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1475nm CWL, 50mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 87-882 | $595 | 50.00 +0.0/-0.1 | 1475.00 | ±5 | 50.00 | ±5 | >90 | 200 - 1800 |  | ≥4.0 | 45.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1500nm CWL, 12.5mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 85-890 | $155 | 12.50 +0.0/-0.1 | 1500.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1800 |  | ≥4.0 | 8.5 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1500nm CWL, 25mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 85-902 | $255 | 25.00 +0.0/-0.1 | 1500.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1800 |  | ≥4.0 | 21.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1500nm CWL, 50mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 85-914 | $595 | 50.00 +0.0/-0.1 | 1500.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1800 |  | ≥4.0 | 45.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1525nm CWL, 12.5mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 87-857 | $155 | 12.50 +0.0/-0.1 | 1525.00 | ±5 | 50.00 | ±5 | >90 | 200 - 1800 |  | ≥4.0 | 8.5 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1525nm CWL, 25mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 87-870 | $255 | 25.00 +0.0/-0.1 | 1525.00 | ±5 | 50.00 | ±5 | >90 | 200 - 1800 |  | ≥4.0 | 21.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1525nm CWL, 50mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 87-883 | $595 | 50.00 +0.0/-0.1 | 1525.00 | ±5 | 50.00 | ±5 | >90 | 200 - 1800 |  | ≥4.0 | 45.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1550nm CWL, 12.5mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 85-891 | $155 | 12.50 +0.0/-0.1 | 1550.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1800 |  | ≥4.0 | 8.5 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1550nm CWL, 25mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 85-903 | $255 | 25.00 +0.0/-0.1 | 1550.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1800 |  | ≥4.0 | 21.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1550nm CWL, 50mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 85-915 | $595 | 50.00 +0.0/-0.1 | 1550.00 | ±5 | 50.00 | ±5 | ≥90 | 200 - 1800 |  | ≥4.0 | 45.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1575nm CWL, 12.5mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 87-858 | $155 | 12.50 +0.0/-0.1 | 1575.00 | ±5 | 50.00 | ±5 | >90 | 200 - 1800 |  | ≥4.0 | 8.5 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1575nm CWL, 25mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 87-871 | $255 | 25.00 +0.0/-0.1 | 1575.00 | ±5 | 50.00 | ±5 | >90 | 200 - 1800 |  | ≥4.0 | 21.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1575nm CWL, 50mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 87-884 | $595 | 50.00 +0.0/-0.1 | 1575.00 | ±5 | 50.00 | ±5 | >90 | 200 - 1800 |  | ≥4.0 | 45.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1600nm CWL, 12.5mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 87-859 | $155 | 12.50 +0.0/-0.1 | 1600.00 | ±5 | 50.00 | ±5 | >90 | 200 - 1800 |  | ≥4.0 | 8.5 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1600nm CWL, 25mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 87-872 | $255 | 25.00 +0.0/-0.1 | 1600.00 | ±5 | 50.00 | ±5 | >90 | 200 - 1800 |  | ≥4.0 | 21.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1600nm CWL, 50mm Dia. Hard Coated OD 4 50nm Bandpass Filter | 87-885 | $595 | 50.00 +0.0/-0.1 | 1600.00 | ±5 | 50.00 | ±5 | >90 | 200 - 1800 |  | ≥4.0 | 45.0 | 80-50 | Hard Coated | 5.0 | Optical Glass | 3.5 ±0.5 | Bandpass Filter