## 3503
Title | Stock Number | Price | Dia. (mm) | CWL (nm) | CWL Tolerance (nm) | FWHM (nm) | FWHM Tolerance (nm) | Minimum Transmission (%) | Blocking Wavelength Range (nm) | Compatible Fluorophore | Optical Density OD | CA (mm) | Surface Quality | Coating | Durability | Mount Thickness (mm) | Substrate | Substrate Thickness (mm) | Type
400nm CWL, 12.5mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 86-640 | $130 | 12.50 +0.0/-0.1 | 400.00 | ±3 | 25.00 | ±3 | ≥90 | 200 - 1200 | 7-Dimethylamino-4-Methylcoumarin-3-Isothiocyanate, CellTrace calcein violet, Pacific Blue, Pacific Orange | ≥4.0 | 8.5 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
400nm CWL, 25mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 86-652 | $205 | 25.00 +0.0/-0.1 | 400.00 | ±3 | 25.00 | ±3 | ≥90 | 200 - 1200 | 7-Dimethylamino-4-Methylcoumarin-3-Isothiocyanate, CellTrace calcein violet, Pacific Blue, Pacific Orange | ≥4.0 | 21.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
400nm CWL, 50mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 86-664 | $495 | 50.00 +0.0/-0.1 | 400.00 | ±3 | 25.00 | ±3 | ≥90 | 200 - 1200 | 7-Dimethylamino-4-Methylcoumarin-3-Isothiocyanate, CellTrace calcein violet, Pacific Blue, Pacific Orange | ≥4.0 | 45.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
425nm CWL, 12.5mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-775 | $130 | 12.50 +0.0/-0.1 | 425.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1200 | 8-Aminopyrene-1,3,6-Trisulfonic Acid Trisdoium Salt, Lucifer yellow, Aqua 431 | ≥4.0 | 8.5 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
425nm CWL, 25mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-787 | $205 | 25.00 +0.0/-0.1 | 425.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1200 | 8-Aminopyrene-1,3,6-Trisulfonic Acid Trisdoium Salt, Lucifer yellow, Aqua 432 | ≥4.0 | 21.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
425nm CWL, 50mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-799 | $495 | 50.00 +0.0/-0.1 | 425.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1200 | 8-Aminopyrene-1,3,6-Trisulfonic Acid Trisdoium Salt, Lucifer yellow, Aqua 433 | ≥4.0 | 45.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
450nm CWL, 12.5mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 86-641 | $130 | 12.50 +0.0/-0.1 | 450.00 | ±3 | 25.00 | ±3 | ≥90 | 200 - 1200 | StarLight Glacial Blue | ≥4.0 | 8.5 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
450nm CWL, 25mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 86-653 | $205 | 25.00 +0.0/-0.1 | 450.00 | ±3 | 25.00 | ±3 | ≥90 | 200 - 1200 | StarLight Glacial Blue | ≥4.0 | 21.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
450nm CWL, 50mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 86-665 | $495 | 50.00 +0.0/-0.1 | 450.00 | ±3 | 25.00 | ±3 | ≥90 | 200 - 1200 | StarLight Glacial Blue | ≥4.0 | 45.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
475nm CWL, 12.5mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-776 | $130 | 12.50 +0.0/-0.1 | 475.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1200 | 4-[4-(Dimethylamino)Styryl]-N-MethylPyridinium, 4-Di-10-ASP, DiO | ≥4.0 | 8.5 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
475nm CWL, 25mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-788 | $205 | 25.00 +0.0/-0.1 | 475.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1200 | 4-[4-(Dimethylamino)Styryl]-N-MethylPyridinium, 4-Di-10-ASP, DiO | ≥4.0 | 21.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
475nm CWL, 50mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-800 | $495 | 50.00 +0.0/-0.1 | 475.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1200 | 4-[4-(Dimethylamino)Styryl]-N-MethylPyridinium, 4-Di-10-ASP, DiO | ≥4.0 | 45.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
500nm CWL, 12.5mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 86-642 | $130 | 12.50 +0.0/-0.1 | 500.00 | ±3 | 25.00 | ±3 | ≥90 | 200 - 1200 | BD Horizon V500, DiO, PKH67, Acridine Orange, ATTO 488, ratiometric pHluorin pH5 | ≥4.0 | 8.5 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
500nm CWL, 25mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 86-654 | $205 | 25.00 +0.0/-0.1 | 500.00 | ±3 | 25.00 | ±3 | ≥90 | 200 - 1200 | BD Horizon V500, DiO, PKH67, Acridine Orange, ATTO 488, ratiometric pHluorin pH6 | ≥4.0 | 21.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
500nm CWL, 50mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 86-666 | $495 | 50.00 +0.0/-0.1 | 500.00 | ±3 | 25.00 | ±3 | ≥90 | 200 - 1200 | BD Horizon V500, DiO, PKH67, Acridine Orange, ATTO 488, ratiometric pHluorin pH7 | ≥4.0 | 45.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
525nm CWL, 12.5mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-777 | $130 | 12.50 +0.0/-0.1 | 525.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1200 | 6-carboxyrhodamine, Envy Green, Eosin, TurboYFP, ATTO 488, Qdot 525 Nanocrystals, Surf Green | ≥4.0 | 8.5 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
525nm CWL, 25mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-789 | $205 | 25.00 +0.0/-0.1 | 525.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1200 | 6-carboxyrhodamine, Envy Green, Eosin, TurboYFP, ATTO 488, Qdot 525 Nanocrystals, Surf Green | ≥4.0 | 21.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
525nm CWL, 50mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-801 | $495 | 50.00 +0.0/-0.1 | 525.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1200 | 6-carboxyrhodamine, Envy Green, Eosin, TurboYFP, ATTO 488, Qdot 525 Nanocrystals, Surf Green | ≥4.0 | 45.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
550nm CWL, 12.5mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 86-643 | $130 | 12.50 +0.0/-0.1 | 550.00 | ±3 | 25.00 | ±3 | ≥90 | 200 - 1200 | HiLyte Fluor 555, Magnesium Orange, Acridine Yellow | ≥4.0 | 8.5 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
550nm CWL, 25mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 86-655 | $205 | 25.00 +0.0/-0.1 | 550.00 | ±3 | 25.00 | ±3 | ≥90 | 200 - 1200 | HiLyte Fluor 555, Magnesium Orange, Acridine Yellow | ≥4.0 | 21.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
550nm CWL, 50mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 86-667 | $495 | 50.00 +0.0/-0.1 | 550.00 | ±3 | 25.00 | ±3 | ≥90 | 200 - 1200 | HiLyte Fluor 555, Magnesium Orange, Acridine Yellow | ≥4.0 | 45.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
575nm CWL, 12.5mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-778 | $130 | 12.50 +0.0/-0.1 | 575.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1200 | Bo-Pro 3, KFP-Red | ≥4.0 | 8.5 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
575nm CWL, 25mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-790 | $205 | 25.00 +0.0/-0.1 | 575.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1200 | Bo-Pro 3, KFP-Red | ≥4.0 | 21.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
575nm CWL, 50mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-802 | $495 | 50.00 +0.0/-0.1 | 575.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1200 | Bo-Pro 3, KFP-Red | ≥4.0 | 45.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
600nm CWL, 12.5mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 86-644 | $130 | 12.50 +0.0/-0.1 | 600.00 | ±3 | 25.00 | ±3 | ≥90 | 200 - 1200 | Hexidium Iodide, Suncoast Yellow | ≥4.0 | 8.5 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
600nm CWL, 25mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 86-656 | $205 | 25.00 +0.0/-0.1 | 600.00 | ±3 | 25.00 | ±3 | ≥90 | 200 - 1200 | Hexidium Iodide, Suncoast Yellow | ≥4.0 | 21.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
600nm CWL, 50mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 86-668 | $495 | 50.00 +0.0/-0.1 | 600.00 | ±3 | 25.00 | ±3 | ≥90 | 200 - 1200 | Hexidium Iodide, Suncoast Yellow | ≥4.0 | 45.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
625nm CWL, 12.5mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-779 | $130 | 12.50 +0.0/-0.1 | 625.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1200 | ATTO 633, SYTO 59, HCS CellMask Red cytoplasmic | ≥4.0 | 8.5 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
625nm CWL, 25mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-791 | $205 | 25.00 +0.0/-0.1 | 625.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1200 | ATTO 633, SYTO 59, HCS CellMask Red cytoplasmic | ≥4.0 | 21.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
625nm CWL, 50mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-803 | $495 | 50.00 +0.0/-0.1 | 625.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1200 | ATTO 633, SYTO 59, HCS CellMask Red cytoplasmic | ≥4.0 | 45.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
650nm CWL, 12.5mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 86-645 | $130 | 12.50 +0.0/-0.1 | 650.00 | ±3 | 25.00 | ±3 | ≥90 | 200 - 1200 | Alexa Fluor® 647, SpectrumFRed, SYTO 60, ChlorophyllA | ≥4.0 | 8.5 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
650nm CWL, 25mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 86-657 | $205 | 25.00 +0.0/-0.1 | 650.00 | ±3 | 25.00 | ±3 | ≥90 | 200 - 1200 | Alexa Fluor® 647, SpectrumFRed, SYTO 60, ChlorophyllA | ≥4.0 | 21.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
650nm CWL, 50mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 86-669 | $495 | 50.00 +0.0/-0.1 | 650.00 | ±3 | 25.00 | ±3 | ≥90 | 200 - 1200 | Alexa Fluor® 647, SpectrumFRed, SYTO 60, ChlorophyllA | ≥4.0 | 45.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
675nm CWL, 12.5mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-780 | $130 | 12.50 +0.0/-0.1 | 675.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1200 | DY-675 | ≥4.0 | 8.5 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
675nm CWL, 25mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-792 | $205 | 25.00 +0.0/-0.1 | 675.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1200 | DY-675 | ≥4.0 | 21.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
675nm CWL, 50mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-804 | $495 | 50.00 +0.0/-0.1 | 675.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1200 | DY-675 | ≥4.0 | 45.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
700nm CWL, 12.5mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 86-646 | $130 | 12.50 +0.0/-0.1 | 700.00 | ±3 | 25.00 | ±3 | ≥90 | 200 - 1200 | ATTO 680 Emission | ≥4.0 | 8.5 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
700nm CWL, 25mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 86-658 | $205 | 25.00 +0.0/-0.1 | 700.00 | ±3 | 25.00 | ±3 | ≥90 | 200 - 1200 | ATTO 680 Emission | ≥4.0 | 21.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
700nm CWL, 50mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 86-670 | $495 | 50.00 +0.0/-0.1 | 700.00 | ±3 | 25.00 | ±3 | ≥90 | 200 - 1200 | ATTO 680 Emission | ≥4.0 | 45.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
725nm CWL, 12.5mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-781 | $130 | 12.50 +0.0/-0.1 | 725.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1200 | FM 4-64 Emission | ≥4.0 | 8.5 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
725nm CWL, 25mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-793 | $205 | 25.00 +0.0/-0.1 | 725.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1200 | FM 4-64 Emission | ≥4.0 | 21.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
725nm CWL, 50mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-805 | $495 | 50.00 +0.0/-0.1 | 725.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1200 | FM 4-64 Emission | ≥4.0 | 45.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
750nm CWL, 12.5mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 86-647 | $130 | 12.50 +0.0/-0.1 | 750.00 | ±3 | 25.00 | ±3 | ≥90 | 200 - 1200 | DiR, HiLyte Fluor 750 | ≥4.0 | 8.5 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
750nm CWL, 25mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 86-659 | $205 | 25.00 +0.0/-0.1 | 750.00 | ±3 | 25.00 | ±3 | ≥90 | 200 - 1200 | DiR, HiLyte Fluor 751 | ≥4.0 | 21.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
750nm CWL, 50mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 86-671 | $495 | 50.00 +0.0/-0.1 | 750.00 | ±3 | 25.00 | ±3 | ≥90 | 200 - 1200 | DiR, HiLyte Fluor 752 | ≥4.0 | 45.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
775nm CWL, 12.5mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-782 | $130 | 12.50 +0.0/-0.1 | 775.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1200 | IRDye800CW, DyLight 800, Cy7, LIVE/DEAD fixable Near-IR Dead Cell Stain Absorption | ≥4.0 | 8.5 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
775nm CWL, 25mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-794 | $205 | 25.00 +0.0/-0.1 | 775.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1200 | IRDye800CW, DyLight 800, Cy7, LIVE/DEAD fixable Near-IR Dead Cell Stain Absorption | ≥4.0 | 21.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
775nm CWL, 50mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-806 | $495 | 50.00 +0.0/-0.1 | 775.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1200 | IRDye800CW, DyLight 800, Cy7, LIVE/DEAD fixable Near-IR Dead Cell Stain Absorption | ≥4.0 | 45.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
800nm CWL, 12.5mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 86-648 | $130 | 12.50 +0.0/-0.1 | 800.00 | ±3 | 25.00 | ±3 | ≥90 | 200 - 1200 | ICG, IRDye800RS, Alexa Fluor® 790 | ≥4.0 | 8.5 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
800nm CWL, 25mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 86-660 | $205 | 25.00 +0.0/-0.1 | 800.00 | ±3 | 25.00 | ±3 | ≥90 | 200 - 1200 | ICG, IRDye800RS, Alexa Fluor® 791 | ≥4.0 | 21.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
800nm CWL, 50mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 86-672 | $495 | 50.00 +0.0/-0.1 | 800.00 | ±3 | 25.00 | ±3 | ≥90 | 200 - 1200 | ICG, IRDye800RS, Alexa Fluor® 792 | ≥4.0 | 45.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
825nm CWL, 12.5mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-783 | $130 | 12.50 +0.0/-0.1 | 825.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1200 | IRDye800CW, DyLight 800, Cy7, LIVE/DEAD fixable Near-IR Dead Cell Stain Emission | ≥4.0 | 8.5 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
825nm CWL, 25mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-795 | $205 | 25.00 +0.0/-0.1 | 825.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1200 | IRDye800CW, DyLight 800, Cy7, LIVE/DEAD fixable Near-IR Dead Cell Stain Emission | ≥4.0 | 21.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
825nm CWL, 50mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-807 | $495 | 50.00 +0.0/-0.1 | 825.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1200 | IRDye800CW, DyLight 800, Cy7, LIVE/DEAD fixable Near-IR Dead Cell Stain Emission | ≥4.0 | 45.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
850nm CWL, 12.5mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 86-649 | $130 | 12.50 +0.0/-0.1 | 850.00 | ±3 | 25.00 | ±3 | ≥90 | 200 - 1200 |  | ≥4.0 | 8.5 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
850nm CWL, 25mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 86-661 | $205 | 25.00 +0.0/-0.1 | 850.00 | ±3 | 25.00 | ±3 | ≥90 | 200 - 1200 |  | ≥4.0 | 21.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
850nm CWL, 50mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 86-673 | $495 | 50.00 +0.0/-0.1 | 850.00 | ±3 | 25.00 | ±3 | ≥90 | 200 - 1200 |  | ≥4.0 | 45.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
875nm CWL, 12.5mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-784 | $130 | 12.50 +0.0/-0.1 | 875.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1200 |  | ≥4.0 | 8.5 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
875nm CWL, 25mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-796 | $205 | 25.00 +0.0/-0.1 | 875.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1200 |  | ≥4.0 | 21.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
875nm CWL, 50mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-808 | $495 | 50.00 +0.0/-0.1 | 875.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1200 |  | ≥4.0 | 45.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
900nm CWL, 12.5mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 86-650 | $130 | 12.50 +0.0/-0.1 | 900.00 | ±3 | 25.00 | ±3 | ≥90 | 200 - 1200 |  | ≥4.0 | 8.5 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
900nm CWL, 25mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 86-662 | $205 | 25.00 +0.0/-0.1 | 900.00 | ±3 | 25.00 | ±3 | ≥90 | 200 - 1200 |  | ≥4.0 | 21.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
900nm CWL, 50mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 86-674 | $495 | 50.00 +0.0/-0.1 | 900.00 | ±3 | 25.00 | ±3 | ≥90 | 200 - 1200 |  | ≥4.0 | 45.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
925nm CWL, 12.5mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-785 | $130 | 12.50 +0.0/-0.1 | 925.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1200 |  | ≥4.0 | 8.5 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
925nm CWL, 25mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-797 | $205 | 25.00 +0.0/-0.1 | 925.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1200 |  | ≥4.0 | 21.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
925nm CWL, 50mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-809 | $495 | 50.00 +0.0/-0.1 | 925.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1200 |  | ≥4.0 | 45.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
950nm CWL, 12.5mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 86-651 | $130 | 12.50 +0.0/-0.1 | 950.00 | ±3 | 25.00 | ±3 | ≥90 | 200 - 1200 |  | ≥4.0 | 8.5 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
950nm CWL, 25mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 86-663 | $205 | 25.00 +0.0/-0.1 | 950.00 | ±3 | 25.00 | ±3 | ≥90 | 200 - 1200 |  | ≥4.0 | 21.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
950nm CWL, 50mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 86-675 | $495 | 50.00 +0.0/-0.1 | 950.00 | ±3 | 25.00 | ±3 | ≥90 | 200 - 1200 |  | ≥4.0 | 45.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
975nm CWL, 12.5mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-786 | $130 | 12.50 +0.0/-0.1 | 975.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1200 |  | ≥4.0 | 8.5 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
975nm CWL, 25mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-798 | $205 | 25.00 +0.0/-0.1 | 975.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1200 |  | ≥4.0 | 21.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
975nm CWL, 50mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-810 | $495 | 50.00 +0.0/-0.1 | 975.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1200 |  | ≥4.0 | 45.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1000nm CWL, 12.5mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-811 | $155 | 12.50 +0.0/-0.1 | 1000.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1500 |  | ≥4.0 | 8.5 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1000nm CWL, 25mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-823 | $255 | 25.00 +0.0/-0.1 | 1000.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1500 |  | ≥4.0 | 21.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1000nm CWL, 50mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-835 | $595 | 50.00 +0.0/-0.1 | 1000.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1500 |  | ≥4.0 | 45.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1050nm CWL, 12.5mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-812 | $155 | 12.50 +0.0/-0.1 | 1050.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1500 |  | ≥4.0 | 8.5 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1050nm CWL, 25mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-824 | $255 | 25.00 +0.0/-0.1 | 1050.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1500 |  | ≥4.0 | 21.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1050nm CWL, 50mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-836 | $595 | 50.00 +0.0/-0.1 | 1050.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1500 |  | ≥4.0 | 45.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1100nm CWL, 12.5mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-813 | $155 | 12.50 +0.0/-0.1 | 1100.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1500 |  | ≥4.0 | 8.5 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1100nm CWL, 25mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-825 | $255 | 25.00 +0.0/-0.1 | 1100.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1500 |  | ≥4.0 | 21.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1100nm CWL, 50mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-837 | $595 | 50.00 +0.0/-0.1 | 1100.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1500 |  | ≥4.0 | 45.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1150nm CWL, 12.5mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-814 | $155 | 12.50 +0.0/-0.1 | 1150.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1500 |  | ≥4.0 | 8.5 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1150nm CWL, 25mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-826 | $255 | 25.00 +0.0/-0.1 | 1150.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1500 |  | ≥4.0 | 21.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1150nm CWL, 50mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-838 | $595 | 50.00 +0.0/-0.1 | 1150.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1500 |  | ≥4.0 | 45.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1200nm CWL, 12.5mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-815 | $155 | 12.50 +0.0/-0.1 | 1200.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1500 |  | ≥4.0 | 8.5 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1200nm CWL, 25mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-827 | $255 | 25.00 +0.0/-0.1 | 1200.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1500 |  | ≥4.0 | 21.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1200nm CWL, 50mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-839 | $595 | 50.00 +0.0/-0.1 | 1200.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1500 |  | ≥4.0 | 45.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1250nm CWL, 12.5mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-816 | $155 | 12.50 +0.0/-0.1 | 1250.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1800 |  | ≥4.0 | 8.5 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1250nm CWL, 25mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-828 | $255 | 25.00 +0.0/-0.1 | 1250.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1800 |  | ≥4.0 | 21.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1250nm CWL, 50mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-840 | $595 | 50.00 +0.0/-0.1 | 1250.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1800 |  | ≥4.0 | 45.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1300nm CWL, 12.5mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-817 | $155 | 12.50 +0.0/-0.1 | 1300.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1800 |  | ≥4.0 | 8.5 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1300nm CWL, 25mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-829 | $255 | 25.00 +0.0/-0.1 | 1300.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1800 |  | ≥4.0 | 21.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1300nm CWL, 50mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-841 | $595 | 50.00 +0.0/-0.1 | 1300.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1800 |  | ≥4.0 | 45.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1350nm CWL, 12.5mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-818 | $155 | 12.50 +0.0/-0.1 | 1350.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1800 |  | ≥4.0 | 8.5 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1350nm CWL, 25mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-830 | $255 | 25.00 +0.0/-0.1 | 1350.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1800 |  | ≥4.0 | 21.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1350nm CWL, 50mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-842 | $595 | 50.00 +0.0/-0.1 | 1350.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1800 |  | ≥4.0 | 45.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1400nm CWL, 12.5mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-819 | $155 | 12.50 +0.0/-0.1 | 1400.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1800 |  | ≥4.0 | 8.5 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1400nm CWL, 25mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-831 | $255 | 25.00 +0.0/-0.1 | 1400.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1800 |  | ≥4.0 | 21.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1400nm CWL, 50mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-843 | $595 | 50.00 +0.0/-0.1 | 1400.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1800 |  | ≥4.0 | 45.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1450nm CWL, 12.5mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-820 | $155 | 12.50 +0.0/-0.1 | 1450.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1800 |  | ≥4.0 | 8.5 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1450nm CWL, 25mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-832 | $255 | 25.00 +0.0/-0.1 | 1450.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1800 |  | ≥4.0 | 21.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1450nm CWL, 50mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-844 | $595 | 50.00 +0.0/-0.1 | 1450.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1800 |  | ≥4.0 | 45.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1500nm CWL, 12.5mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-821 | $155 | 12.50 +0.0/-0.1 | 1500.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1800 |  | ≥4.0 | 8.5 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1500nm CWL, 25mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-833 | $255 | 25.00 +0.0/-0.1 | 1500.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1800 |  | ≥4.0 | 21.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1500nm CWL, 50mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-845 | $595 | 50.00 +0.0/-0.1 | 1500.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1800 |  | ≥4.0 | 45.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1550nm CWL, 12.5mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-822 | $155 | 12.50 +0.0/-0.1 | 1550.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1800 |  | ≥4.0 | 8.5 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1550nm CWL, 25mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-834 | $255 | 25.00 +0.0/-0.1 | 1550.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1800 |  | ≥4.0 | 21.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter
1550nm CWL, 50mm Dia. Hard Coated OD 4 25nm Bandpass Filter | 87-846 | $595 | 50.00 +0.0/-0.1 | 1550.00 | ±3 | 25.00 | ±3 | >90 | 200 - 1800 |  | ≥4.0 | 45.0 | 80-50 | Hard Coated | MIL-C-48497A Environmental: MIL-STD-810F | 5.00 | Optical Glass | 3.5 ±0.5 | Bandpass Filter